## Tabelle1
Distance Mesurments: Single Sided Two Way Ranging
Ant_delay uint16: (init) |  | 16456 | [14 empty] | Distance | No Calibrating | Calibrating
Ant_delay uint16: (resp) | [16 empty] | 1 | 6.5649 | 6.0052
[17 empty] | 1.5 | 14.5072 | 5.3142
Distance (Meter): | 1 |  | Distance (Meter): | 1.5 | Distance (Meter): | 2 | Distance (Meter): | 2.5 | Distance (Meter): | 3 | Distance (Meter): | 3.5 | Distance: | 4 |  |  | 2 | 13.319 | 5.064
Run: | Measured Distance |  | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance |  |  | 2.5 | 11.5179 | 4.3925
1 | 1.0882 |  | 1 | 1.7261 | 1 | 2.3264 | 1 | 2.7955 | 1 | 3.227 | 1 | 3.5647 | 1 | 4.2213 |  |  | 3 | 8.2847 | 4.251
2 | 0.97559 |  | 2 | 1.6885 | 2 | 2.3452 | 2 | 2.8142 | 2 | 3.2645 | 2 | 3.6022 | 2 | 4.2026 |  |  | 3.5 | 1.7405 | 3.5631
3 | 1.0694 |  | 3 | 1.6698 | 3 | 2.2701 | 3 | 2.7955 | 3 | 3.2832 | 3 | 3.6022 | 3 | 4.1838 |  |  | 4 | 5.322 | 3.9852
4 | 0.99436 |  | 4 | 1.6885 | 4 | 2.3452 | 4 | 2.8142 | 4 | 3.2645 | 4 | 3.5459 | 4 | 4.1838
5 | 0.99436 |  | 5 | 1.6885 | 5 | 2.3452 | 5 | 2.7767 | 5 | 3.302 | 5 | 3.5647 | 5 | 4.165
6 | 1.0131 |  | 6 | 1.7073 | 6 | 2.4202 | 6 | 2.7579 | 6 | 3.2645 | 6 | 3.5459 | 6 | 4.1463
7 | 1.0319 |  | 7 | 1.7261 | 7 | 2.3264 | 7 | 2.7955 | 7 | 3.2832 | 7 | 3.5647 | 7 | 4.2964
8 | 1.0694 |  | 8 | 1.6698 | 8 | 2.3077 | 8 | 2.7767 | 8 | 3.2832 | 8 | 3.5459 | 8 | 4.2026
9 | 1.1257 |  | 9 | 1.7073 | 9 | 2.3264 | 9 | 2.7579 | 9 | 3.2082 | 9 | 3.5647 | 9 | 4.2401
10 | 1.1069 |  | 10 | 1.7073 | 10 | 2.2889 | 10 | 2.7579 | 10 | 3.2457 | 10 | 3.5647 | 10 | 4.2026
11 | 1.1444 |  | 11 | 1.7636 | 11 | 2.1951 | 11 | 2.8142 | 11 | 3.2457 | 11 | 3.5647 | 11 | 4.2213
12 | 0.99436 |  | 12 | 1.7448 | 12 | 2.1951 | 12 | 2.7955 | 12 | 3.2832 | 12 | 3.5459 | 12 | 4.2026
13 | 1.0506 |  | 13 | 1.7261 | 13 | 2.2514 | 13 | 2.833 | 13 | 3.2645 | 13 | 3.5271 | 13 | 4.2401
14 | 1.1632 |  | 14 | 1.7073 | 14 | 2.2701 | 14 | 2.7392 | 14 | 3.2082 | 14 | 3.5834 | 14 | 4.2026
15 | 1.0319 |  | 15 | 1.7448 | 15 | 2.1951 | 15 | 2.7955 | 15 | 3.227 | 15 | 3.5459 | 15 | 4.2213
16 | 1.0694 |  | 16 | 1.7261 | 16 | 2.1576 | 16 | 2.7767 | 16 | 3.2457 | 16 | 3.5647 | 16 | 4.2401
17 | 1.0131 |  | 17 | 1.7636 | 17 | 2.2138 | 17 | 2.7955 | 17 | 3.2082 | 17 | 3.5834 | 17 | 4.165
18 | 1.1444 |  | 18 | 1.7448 | 18 | 2.2138 | 18 | 2.7955 | 18 | 3.227 | 18 | 3.5459 | 18 | 4.2588
19 | 1.1257 |  | 19 | 1.7448 | 19 | 2.1576 | 19 | 2.7767 | 19 | 3.2082 | 19 | 3.5084 | 19 | 4.2026
20 | 1.1069 |  | 20 | 1.7073 | 20 | 2.1763 | 20 | 2.7955 | 20 | 3.227 | 20 | 3.5834 | 20 | 4.2588
AVG: | 1.0656 |  | AVG: | 1.7176 | AVG: | 2.2664 | AVG: | 2.7879 | AVG: | 3.2485 | AVG: | 3.5609 | AVG: | 4.2129
STDW: | 0.058257 |  | STDW: | 0.028208 | STDW: | 0.07544 | STDW: | 0.023099 | STDW: | 0.029991 | STDW: | 0.023258 | STDW: | 0.036255
DIFF: | 0.065649 |  | DIFF: | 0.21761 | DIFF: | 0.26638 | DIFF: | 0.28795 | DIFF: | 0.24854 | DIFF: | 0.060919 | DIFF: | 0.21288
DIFF %: | 6.5649 |  | DIFF %: | 14.5072 | DIFF %: | 13.319 | DIFF %: | 11.5179 | DIFF %: | 8.2847 | DIFF %: | 1.7405 | DIFF %: | 5.322 | AVG DIFF %: | 8.7509
Ant_delay uint16: (init) |  | 16472
Ant_delay uint16: (resp)
Distance (Meter): | 1 |  | Distance (Meter): | 1.5 | Distance (Meter): | 2 | Distance (Meter): | 2.5 | Distance (Meter): | 3 | Distance (Meter): | 3.5 | Distance (Meter): | 4
Run: | Measured Distance |  | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance | Run: | Measured Distance
1 | 0.91931 |  | 1 | 1.576 | 1 | 2.1388 | 1 | 2.6641 | 1 | 3.1144 | 1 | 3.6585 | 1 | 4.2213
2 | 0.97559 |  | 2 | 1.5572 | 2 | 2.12 | 2 | 2.5891 | 2 | 3.0956 | 2 | 3.621 | 2 | 4.1463
3 | 0.93807 |  | 3 | 1.5947 | 3 | 2.1576 | 3 | 2.6829 | 3 | 3.1519 | 3 | 3.621 | 3 | 4.165
4 | 0.95683 |  | 4 | 1.6135 | 4 | 2.1576 | 4 | 2.6078 | 4 | 3.1332 | 4 | 3.5647 | 4 | 4.2213
5 | 0.93807 |  | 5 | 1.6135 | 5 | 2.12 | 5 | 2.6454 | 5 | 3.0956 | 5 | 3.6585 | 5 | 4.1088
6 | 0.99436 |  | 6 | 1.6135 | 6 | 2.12 | 6 | 2.6266 | 6 | 3.0769 | 6 | 3.621 | 6 | 4.1275
7 | 0.95683 |  | 7 | 1.6135 | 7 | 2.12 | 7 | 2.6454 | 7 | 3.1519 | 7 | 3.5647 | 7 | 4.1838
8 | 0.93807 |  | 8 | 1.5947 | 8 | 2.12 | 8 | 2.6454 | 8 | 3.1144 | 8 | 3.5647 | 8 | 4.1838
9 | 0.97559 |  | 9 | 1.6135 | 9 | 2.1388 | 9 | 2.6641 | 9 | 3.0956 | 9 | 3.5647 | 9 | 4.165
10 | 0.91931 |  | 10 | 1.576 | 10 | 2.1388 | 10 | 2.6454 | 10 | 3.1332 | 10 | 3.6397 | 10 | 4.165
11 | 0.90055 |  | 11 | 1.5197 | 11 | 2.1576 | 11 | 2.5516 | 11 | 3.1519 | 11 | 3.621 | 11 | 4.2026
12 | 0.91931 |  | 12 | 1.5947 | 12 | 2.12 | 12 | 2.5703 | 12 | 3.1144 | 12 | 3.6397 | 12 | 4.1838
13 | 0.91931 |  | 13 | 1.5384 | 13 | 2.1576 | 13 | 2.6078 | 13 | 3.1707 | 13 | 3.621 | 13 | 4.1463
14 | 0.93807 |  | 14 | 1.576 | 14 | 2.1388 | 14 | 2.5516 | 14 | 3.1519 | 14 | 3.5459 | 14 | 4.1275
15 | 0.91931 |  | 15 | 1.5947 | 15 | 2.12 | 15 | 2.5891 | 15 | 3.1519 | 15 | 3.6397 | 15 | 4.1275
16 | 0.90055 |  | 16 | 1.5572 | 16 | 2.1576 | 16 | 2.6266 | 16 | 3.0956 | 16 | 3.6772 | 16 | 4.1275
17 | 0.90055 |  | 17 | 1.5572 | 17 | 2.1388 | 17 | 2.6078 | 17 | 3.1707 | 17 | 3.6772 | 17 | 4.165
18 | 0.95683 |  | 18 | 1.5572 | 18 | 2.1388 | 18 | 2.5703 | 18 | 3.1144 | 18 | 3.6772 | 18 | 4.1275
19 | 0.93807 |  | 19 | 1.5572 | 19 | 2.1388 | 19 | 2.5891 | 19 | 3.1332 | 19 | 3.6772 | 19 | 4.1275
20 | 0.99436 |  | 20 | 1.576 | 20 | 2.1013 | 20 | 2.5703 | 20 | 3.1332 | 20 | 3.6397 | 20 | 4.165
AVG: | 0.93995 |  | AVG: | 1.5797 | AVG: | 2.1351 | AVG: | 2.6098 | AVG: | 3.1275 | AVG: | 3.6247 | AVG: | 4.1594
STDW: | 0.029129 |  | STDW: | 0.027627 | STDW: | 0.016781 | STDW: | 0.038498 | STDW: | 0.02729 | STDW: | 0.042869 | STDW: | 0.032836
DIFF: | 0.060052 |  | DIFF: | 0.079712 | DIFF: | 0.10128 | DIFF: | 0.10981 | DIFF: | 0.12753 | DIFF: | 0.12471 | DIFF: | 0.15941
DIFF %: | 6.0052 |  | DIFF %: | 5.3142 | DIFF %: | 5.064 | DIFF %: | 4.3925 | DIFF %: | 4.251 | DIFF %: | 3.5631 | DIFF %: | 3.9852 | AVG DIFF %: | 4.6536