## Sheet1
[5 empty] | 0.5m | [5 empty] | 1m | [5 empty] | 1.5m | [5 empty] | 2m | Calibrated and biased corrected |  | Measured Distance | Measured Distance | Relative Error per meter (cm) | Relative Error per meter (cm)
| ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | Real Distance | Bias corrected | No bias correction | Bias corrected | No bias correction
0 | 514 | 4096 | 8194 | 0.187614 | 0.357614 | 0 | 514 | 4096 | 8194 | 0.750457 | 0.870457 | 0 | 514 | 4096 | 8194 | 1350823 | 1450823 | 0 | 514 | 4096 | 8194 | 1819858 | 1909858 | 0.5m | 0.5 | 0.37638 |  | 24.7248
1 | 514 | 4096 | 8194 | 0.131330 | 0.301330 | 1 | 514 | 4096 | 8194 | 0.787980 | 0.907980 | 1 | 514 | 4096 | 8194 | 1350823 | 1450823 | 1 | 514 | 4096 | 8194 | 1838620 | 1928620 | 1m | 1 | 0.89497 | 0.76114 | 10.5029 | 23.886
2 | 514 | 4096 | 8194 | 0.131330 | 0.301330 | 2 | 514 | 4096 | 8194 | 0.769219 | 0.889219 | 2 | 514 | 4096 | 8194 | 1313300 | 1413300 | 2 | 514 | 4096 | 8194 | 1838620 | 1928620 | 1.5m | 1.5 | 1.4171 | 1.3141 | 5.5299 | 12.3945
3 | 514 | 4096 | 8194 | 0.318944 | 0.488944 | 3 | 514 | 4096 | 8194 | 0.806741 | 0.926741 | 3 | 514 | 4096 | 8194 | 1313300 | 1413300 | 3 | 514 | 4096 | 8194 | 1838620 | 1928620 | 2m | 2 | 1.9342 | 1.8535 | 3.2876 | 7.3264
4 | 514 | 4096 | 8194 | 0.281421 | 0.451421 | 4 | 514 | 4096 | 8194 | 0.806741 | 0.926741 | 4 | 514 | 4096 | 8194 | 1313300 | 1413300 | 4 | 514 | 4096 | 8194 | 1801097 | 1891097 | 2.5m | 2.5 | 2.5217 | 2.4101 | 0.86952 | 3.5976
5 | 514 | 4096 | 8194 | 0.225137 | 0.395137 | 5 | 514 | 4096 | 8194 | 0.787980 | 0.907980 | 5 | 514 | 4096 | 8194 | 1332061 | 1432061 | 5 | 514 | 4096 | 8194 | 1857381 | 1947381 | 3m | 3 | 3.0618 | 2.9171 | 2.0609 | 2.762
6 | 514 | 4096 | 8194 | 0.262660 | 0.432660 | 6 | 514 | 4096 | 8194 | 0.769219 | 0.889219 | 6 | 514 | 4096 | 8194 | 1275777 | 1375777 | 6 | 514 | 4096 | 8194 | 1894904 | 1984904 | 3.5m | 3.5 | 3.5431 | 3.4534 | 1.2323 | 1.3313
7 | 514 | 4096 | 8194 | 0.187614 | 0.357614 | 7 | 514 | 4096 | 8194 | 0.731696 | 0.871696 | 7 | 514 | 4096 | 8194 | 1257016 | 1357016 | 7 | 514 | 4096 | 8194 | 1876143 | 1966143 | 4m | 4 | 4.0536 | 3.9381 | 1.3394 | 1.5481
8 | 514 | 4096 | 8194 | 0.168853 | 0.338853 | 8 | 514 | 4096 | 8194 | 0.769219 | 0.889219 | 8 | 514 | 4096 | 8194 | 1350823 | 1450823 | 8 | 514 | 4096 | 8194 | 1857381 | 1947381
9 | 514 | 4096 | 8194 | 0.168853 | 0.338853 | 9 | 514 | 4096 | 8194 | 0.750457 | 0.870457 | 9 | 514 | 4096 | 8194 | 1313300 | 1413300 | 9 | 514 | 4096 | 8194 | 1819858 | 1909858
| Source | Distance |  |  |  |  | Source | Distance |  |  |  |  | Source | Distance |  |  |  |  | Source | Distance
0 | 8194 | 0.376376 |  |  |  | 0 | 8194 | 0.894971 |  |  |  | 0 | 8194 | 1417052 |  |  |  | 0 | 8194 | 1934248
[5 empty] | 2.5m | [5 empty] | 3m | [5 empty] | 3.5m | [5 empty] | 4m | Calibrated but Non-biased
| ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | ID | Destination | Source | Distance | Distance with Range Bias |  | Real Distance | Measured Distance | Relative Error per meter (cm)
0 | 514 | 4096 | 8194 | 2514031 | 2584031 | 0 | 514 | 4096 | 8194 | 3076874 | 3136874 | 0 | 514 | 4096 | 8194 | 3527148 | 3567148 | 0 | 514 | 4096 | 8194 | 3977423 | 4017423 | 1m | 1 | 0.76114 | 23.886
1 | 514 | 4096 | 8194 | 2363940 | 2443940 | 1 | 514 | 4096 | 8194 | 3039351 | 3099351 | 1 | 514 | 4096 | 8194 | 3470864 | 3520864 | 1 | 514 | 4096 | 8194 | 3977423 | 4017423 | 1.5m | 1.5 | 1.3141 | 12.3945
2 | 514 | 4096 | 8194 | 2438986 | 2518986 | 2 | 514 | 4096 | 8194 | 3039351 | 3099351 | 2 | 514 | 4096 | 8194 | 3883615 | 3923615 | 2 | 514 | 4096 | 8194 | 4052468 | 4082468 | 2m | 2 | 1.8535 | 7.3264
3 | 514 | 4096 | 8194 | 2457747 | 2537747 | 3 | 514 | 4096 | 8194 | 2908021 | 2968021 | 3 | 514 | 4096 | 8194 | 3283250 | 3333250 | 3 | 514 | 4096 | 8194 | 3958661 | 3998661 | 2.5m | 2.5 | 2.4101 | 3.5976
4 | 514 | 4096 | 8194 | 2401463 | 2481463 | 4 | 514 | 4096 | 8194 | 3001828 | 3061828 | 4 | 514 | 4096 | 8194 | 3602194 | 3642194 | 4 | 514 | 4096 | 8194 | 4033707 | 4063707 | 3m | 3 | 2.9171 | 2.762
5 | 514 | 4096 | 8194 | 2476508 | 2556508 | 5 | 514 | 4096 | 8194 | 3039351 | 3099351 | 5 | 514 | 4096 | 8194 | 3639717 | 3679717 | 5 | 514 | 4096 | 8194 | 4052468 | 4082468 | 3.5m | 3.5 | 3.4534 | 1.3313
6 | 514 | 4096 | 8194 | 2457747 | 2537747 | 6 | 514 | 4096 | 8194 | 2945544 | 3005544 | 6 | 514 | 4096 | 8194 | 3339534 | 3389534 | 6 | 514 | 4096 | 8194 | 4052468 | 4082468 | 4m | 4 | 3.9381 | 1.5481
7 | 514 | 4096 | 8194 | 2457747 | 2537747 | 7 | 514 | 4096 | 8194 | 3001828 | 3061828 | 7 | 514 | 4096 | 8194 | 3302011 | 3352011 | 7 | 514 | 4096 | 8194 | 4014945 | 4044945
8 | 514 | 4096 | 8194 | 2420224 | 2500224 | 8 | 514 | 4096 | 8194 | 3020590 | 3080590 | 8 | 514 | 4096 | 8194 | 3226966 | 3286966 | 8 | 514 | 4096 | 8194 | 4033707 | 4063707
9 | 514 | 4096 | 8194 | 2438986 | 2518986 | 9 | 514 | 4096 | 8194 | 2945544 | 3005544 | 9 | 514 | 4096 | 8194 | 3696001 | 3736001 | 9 | 514 | 4096 | 8194 | 4052468 | 4082468
| Source | Distance |  |  |  |  | Source | Distance |  |  |  |  | Source | Distance |  |  |  |  | Source | Distance
0 | 8194 | 2521738 |  |  |  | 0 | 8194 | 3061828 |  |  |  | 0 | 8194 | 354313 |  |  |  | 0 | 8194 | 4053574